{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet3","index":0,"n_rows":116,"n_cols":8,"rows_kept":116,"merged":[[0,0,0,7],[1,0,1,6],[110,0,110,7]],"flags":["formulas_cached_only"]}
["海南经贸职业技术学院\n货物、服务类采购询价报价表"]
["项目名称：购买校园及学生公寓水电维修材料"]
["一、购买校园水电维修材料"]
["序号","采购需求\n(品牌型号规格参数)","报价响应\n(品牌型号规格参数)","单位","数量","单价\n（元）","金额\n（元）","备注"]
[1,"佛山照明20W日光灯",null,"条",200]
[2,"梅兰日兰声控开关（暗装）",null,"个",200]
[3,"电工绝缘胶布（大号）",null,"个",200]
[4,"11W节能灯泡（螺口）佛山照明",null,"个",500]
[5,"4—6位明装配电箱",null,"个",10]
[6,"五孔插座（暗装）朗琴斯国际电工",null,"个",30]
[7,"五孔插座（明装）朗琴斯国际电工",null,"个",30]
[8,"100A空气断路器3P（德力西）",null,"个",20]
[9,"3P 63A空气开关（德力西）",null,"个",20]
[10,"3P 32A空气开关（德力西）",null,"个",20]
[11,"3P 16A空气开关（德力西）",null,"个",20]
[12,"3P 40A空气开关（德力西）",null,"个",20]
[13,"数字测电笔",null,"支",30]
[14,"自扣式螺口灯座（朗琴斯国际电工）",null,"个",500]
[15,"6m胶粒",null,"盒",50]
[16,"电工防水胶布（高压）",null,"个",20]
[17,"四线槽（联塑）",null,"条",100]
[18,"电工工具袋（大号）",null,"个",10]
[19,"博世冲击钻头6mm(短）",null,"支",10]
[20,"博世冲击钻头8mm(短）",null,"支",10]
[21,"博世冲击钻头10mm(短）",null,"支",10]
[22,"博世冲击钻头12mm(短）",null,"支",10]
[23,"博世冲击钻头14mm(短）",null,"支",10]
[24,"博世冲击钻头16mm(短）",null,"支",10]
[25,"博世冲击钻头14mm(长）",null,"支",10]
[26,"博世冲击钻头16mm(长）",null,"支",10]
[27,"多股铜芯线6平方（威特）",null,"扎",8]
[28,"多股铜芯线4平方（威特）",null,"扎",10]
[29,"多股铜芯线2.5（威特）",null,"扎",10]
[30,"LED投光灯（30W)",null,"盏",30]
[31,"六线槽（联塑)",null,"条",100]
[32,"双联1位开关（暗装）朗琴斯国际电工",null,"个",30]
[33,"双联2位开关（暗装）朗琴斯国际电工",null,"个",30]
[34,"双联3位开关（暗装）朗琴斯国际电工",null,"个",30]
[35,"双联4位开关（暗装）朗琴斯国际电工",null,"个",30]
[36,"防水胶带（生料带）（大号）",null,"个",500]
[37,"美工刀（大号）",null,"把",50]
[38,"IP空气开关20A（德力西）",null,"个",20]
[39,"IP空气开关25A（德力西）",null,"个",20]
[40,"IP空气开关32A（德力西）",null,"个",20]
[41,"IP空气开关40A（德力西）",null,"个",20]
[42,"2P空气开关20A（德力西）",null,"个",20]
[43,"2P空气开关25A（德力西）",null,"个",20]
[44,"2P空气开关40A（德力西）",null,"个",20]
[45,"2P空气开关32A（德力西）",null,"个",20]
[46,"2P空气开关60A（德力西）",null,"个",20]
[47,"2P空气开关63A（德力西）",null,"个",20]
[48,"联塑PVC供水管配件 6分球阀",null,"个",50]
[49,"联塑PVC供水管配件 32分球阀",null,"个",50]
[50,"联塑PVC供水管配件 4分球阀",null,"个",50]
[51,"联塑PVC供水管配件 6分直接",null,"个",50]
[52,"联塑PVC供水管配件 1寸直接",null,"个",50]
[53,"联塑PVC供水管配件 4分直接",null,"个",50]
[54,"陶瓷吊灯头（螺口）",null,"个",100]
[55,"佛山照明球形螺口40W灯泡",null,"个",100]
[56,"4分高压软管（80公分长）",null,"条",50]
[57,"大便冲水阀（延时）",null,"个",50]
[58,"鹰之印十字螺丝刀（中）",null,"支",20]
[59,"鹰之印一字螺丝刀（中）",null,"支",20]
[60,"钢排钉（1.3）",null,"盒",10]
["小计"]
[]
[]
["二、学生公寓水电维修材料"]
["序号","采购需求\n(品牌型号规格参数)","报价响应\n(品牌型号规格参数)","单位","数量","单价\n（元）","金额\n（元）","备注"]
[1,"蓝色联塑32×25大小头",null,"个",100]
[2,"蓝色联塑20三通",null,"个",30]
[3,"蓝色联塑25铜弯",null,"个",30]
[4,"蓝色联塑20铜直",null,"个",100]
[5,"蓝色联塑20铜弯",null,"个",100]
[6,"蓝色联塑20×45°弯头",null,"个",100]
[7,"蓝色联塑32三通",null,"个",10]
[8,"15圣源达三角阀",null,"个",200]
[9,"25圣源达冲厕开关",null,"个",60]
[10,"32圣源达冲厕开关",null,"个",180]
[11,"15快开水龙头",null,"个",200]
[12,"博正20铜球阀",null,"个",100]
[13,"博正20铜开关",null,"个",50]
[14,"博正25铜开关",null,"个",50]
[15,"联塑20供水管",null,"条",20]
[16,"蓝色联塑25供水管",null,"条",50]
[17,"500m给水胶",null,"个",10]
[18,"申宏达生料带",null,"个",200]
[19,"欧邦亚单位开关",null,"个",100]
[20,"欧邦亚双位开关",null,"个",100]
[21,"欧邦亚五孔插座",null,"个",100]
[22,"C63三向空气开关",null,"个",30]
[23,"通捷40W启辉器",null,"个",300]
[24,"40W飞利浦灯管",null,"支",1000]
[25,"螺口11W朗派节能灯",null,"个",1500]
[26,"欧邦亚40W电感支架",null,"支",32]
[27,"光量子电感支架",null,"支",48]
[28,"光量子电子头",null,"付",200]
[29,"铜芯多股威特2.5m㎡电线",null,"扎",2]
[30,"铜芯多股威特1.5m㎡电线",null,"扎",2]
[31,"吊式螺口灯头",null,"个",100]
[32,"舒氏电工胶布",null,"个",50]
[33,"螺口威尔55W节能灯",null,"个",20]
[34,"6A漏电开关",null,"个",50]
[35,"32铁内接",null,"个",50]
[36,"南山25铁总开关",null,"个",50]
[37,"25冲厕弯头(长）",null,"个",50]
[38,"20PPR总阀",null,"个",50]
[39,"洗衣台软管（排水）",null,"条",100]
["小计"]
["合计",null,"本列填写说明:如果产品与采购需求完全一致，可填写“完全响应”，如有差异，请照实填写。"]
["本项目预算为99803元，所有报价均包含运费及税金等与本项目相关的所有费用，本次询价原则上为最低价中标，但如果报价人所报的产品未满足本清单中的品牌型号和参数（同等或优于）等要求，采购人使用部门不接受的，采购人有权拒绝最低的报价。"]
[]
[{"$nulls":5},"报价公司(盖章):"]
[{"$nulls":5},"联系人:"]
[{"$nulls":5},"电话:"]
[{"$nulls":5},"报价日期:"]