{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet3","index":0,"n_rows":10,"n_cols":9,"rows_kept":10,"merged":[[0,0,0,8]],"flags":["formulas_cached_only"]}
["海南经贸职业技术学院\n教学楼热饮水机购置项目采购需求及报价表"]
["序号","产品名称","采购需求\n(规格参数)","报价响应\n(品牌型号规格参数)\n本项须如实填写，不接受负偏离产品，负偏离将视为未满足采购需求。","单位","数量","单价\n（元）","金额\n（元）","备注"]
[1,"温热\n饮水机","水胆容量：27升；\n供水量：开水32升/时，温开水157升/时；\n功率：3KW；\n电源：220V 50HZ；\n标准配置：PP棉+活性炭+活性炭；\n内置过滤系统：三筒四级过滤；\n\n安装要求：包安装（含所需水管等所有配件），拆除原有15台损坏饮水机并搬运至学院指定地点存放。\n\n售后服务要求：免费保修期至少2年，内胆要求每学期清洗一次。接报后48小时内解决问题。保修期满后，供货方必须提供及时的后期技术支持，并保证以合理的价格提供备件、维修保养服务，当发生故障时，投标人应按保修期内同样的要求进行维修处理，合理收取维修费。","\n品牌：\n型号：\n详细规格参数：\n\n\n\n\n\n\n\n安装要求：完全响应。\n\n售后服务承诺：免费保修期至少2年，内胆要求每学期清洗一次。接报后48小时内解决问题。保修期满后，供货方必须提供及时的后期技术支持，并保证以合理的价格提供备件、维修保养服务，当发生故障时，投标人应按保修期内同样的要求进行维修处理，合理收取维修费。","台",15]
["合计"]
["注：以上报价均包括运输、搬运、安装、水管等配件、税金等所有与本项目相关的费用。"]
[]
[{"$nulls":5},"报价公司(盖章):"]
[{"$nulls":5},"联系人:"]
[{"$nulls":5},"电话:"]
[{"$nulls":5},"报价日期:"]